Firstly unzip IPD.zip and put the entire folder in the following location:

C:\Program Files\Delcam\DentCAD14221\file\dental\Implants

This will add your implant data to the library.

Secondly unzip IPD2.zip and put the entire folder into the following location:

C:\Program Files\Delcam\DentCAD14221\file\dental\Scan_Adaptors

Then rename the folder IPD (remove the number 2).  This with add your scan body’s to the library.

Then open up DentCAD and your library should appear within.